Structural Splice / Gusset / Fish Plate Connection Checklist

| ### Project: COV-TEN-CON 514 – Stack Raise Installation, Kwinana Lithium Refinery |  |  | Client: Covalent |  |  |
| --- | --- | --- | --- | --- | --- |
| Description: |  |  | AREA Ref: |  |  |
| Marking Plan/s Ref: |  |  | ### ITP No: |  |  |
| ### Module Reference: |  |  | ### WP No: |  |  |
| Item | Item Description |  | Installer | Verified | SRG Super |
| 1 | Correct structural member / brace installed at nominated location as per drawings and marking plan. |  |  |  |  |
| 2 | Correct fish plates, gusset plates, cleats and connection plates installed and orientated correctly. |  |  |  |  |
| 3 | Connection faces clean and free from debris, or coating build-up affecting fit-up. |  |  |  |  |
| 4 | Bolt holes aligned, no flame cutting or modification undertaken. |  |  |  |  |
| 5 | Correct bolts, nuts and washers installed, size, grade and coating verified against MTO/specification. |  |  |  |  |
| 6 | Temporary bolts/alignment pins removed where not part of permanent connection. |  |  |  |  |
| 7 | Connection snug tightened during assembly / fit-up prior to final tensioning. |  |  |  |  |
| 8 | Final bolt tensioning completed to specified rotation using calibrated tooling |  |  |  |  |
| 9 | Connection visually inspected, member seated correctly with no gaps or distortion. |  |  |  |  |
| 10 | Punch list or repair/deviation approval raised where defects or unauthorised modifications are identified. |  |  |  |  |
| #1☐ #3 ☐ #2 ☐ |  |  |  |  |  |
| ### Comments/Punch List Items |  | ### Attachments |  |  |  |
| Verified by: / / |  | Reviewed by Client: / / |  |  |  |